TO: MCCA Residents

FROM: Management Office

DATE: 1/2/2024

_____________________________________________________________

RE: HEATING STARTUP

General Heating Information:  General instructions for use of the Radiator Control Knobs/ Thermostats are attached.  Each resident is able to control the heat radiating from the individual radiators in their suite.  You may need to adjust the controls to a slightly differently setting depending on a radiator’s location and your desired comfort level.  In rooms not frequently used, we ask that you help conserve energy by turning your thermostats to “*” setting.

Please note that individual radiators will not radiate heat 24/7 depending upon:

- How your individual Radiator Control Knobs are set, and

- The outside temperature.  When the outside temperature is only in the 40s and 50s, the boilers’ efficiency controls conserve natural gas usage by turning off the boilers for several hours a day; and when the outside temperature rises above a pre-set point, it turns the boilers off entirely.

Reporting Problems:  Please notify the Management Office immediately if you notice:

- A hissing sound or water leak at a radiator;

- A wet spot in the ceiling above a radiator (which may indicate a leak from the radiator in the suite above you);

- persisting banging or other noise;

- No heat or constant heat regardless of the thermostat setting on the Radiator Control Knob.